## Slide 1: Piezoelectric Noise measurement (update 3)
Ari Pedersen, Danny Vander-Hyde

## Slide 2: Electrode design v2
Using cylindrical Laplace solver in Matlab I modified the code to correct my statements in the first version (done in cartesian and was not correct assuming disk electrodes).
To finalize the electrode design I wanted to optimize three features of the electrodes:
  The size of the disk
  The size of the hole in the disk
  Disk separation

## Slide 3: Electrode disk size

## Slide 4: Electrode hole size

## Slide 5: Electrode disk separation

## Slide 6: Disk size and separation
5mm
.2 "
.

## Slide 7: Optical layout V0

## Slide 8: Next steps
COMSOL modelling comparison
Further iterations of enclosure

## Slide 9: Some cool pictures (vary plate size \rho = 0)

## Slide 10: Some cool pictures (varying hole size \rho = 0)

## Slide 11: Some cool pictures (vary plate separation \rho = 0)