## Slide 1: Electro-optic effects in a HR AlGaAs coated mirror
Danny Vander-Hyde

## Slide 2: The Pockel’s effect
The Pockel’s effect, put quite simply is birefringence induced by an external Electric field across a material
The effect, predominantly in crystalline materials is caused by the

## Slide 3: Pockel’s effect for stratified media

## Slide 4: Measurement schema

## Slide 6: EXTRA SLIDES

## Slide 7: Calibration (cont.)
There is a frequency dependent response of the injection to the electrodes that can be divided out and simplified:
We also know that the error signal spectra of the loop is probed by :
Where is the uncalibrated voltage output from the mixer, is the FSS transfer function, and is the open loop gain of the PDH system.

## Slide 8: Calibration (cont.)
And we can say so :
Substitute (1) into (4):
M,
= .165 m
Notes: Rearrange equation 2 to solve for (signal) (replacement)